Blow Down Separator Sample Specifications

1.0      Furnish a Hurst Blow Down Separator.  The unit shall be sized for a boiler with design pressure of       psi.  It shall be ASME stamped and registered with the Nation Board of Pressure Vessel Inspectors and rated for       psi.  The blow down size shall be      .”

2.0      The separator shall be       in diameter x       in height and have       supports.

3.0	The inlet connection size shall be      ”, the vent size shall be      ,” and the drain size shall be      . “

4.0	Separator Trim:

4.1	Aftercooler

This allows the cool water to mix with the blow down water.

4.2	Temperature regulator

Furnish a self-modulating control valve that is temperature actuated, self powered and applicable to cooling processes using water or other fluids.

  - Thermometer

Furnish a stainless steel thermometer with glass lens.  It shall be vibration resistant and have fast response to temperature changes. It shall also be moisture proof.

  - Strainer

Furnish a strainer featuring a tapered bushing in sizes ¼” thru 2” and bolted cover with gasket for sizes 2-1/2”, 3” and 4” and furnished standard with a NPT blow-off connection.

  - Check Valve

Furnish a spring loaded check valve.

Hurst Boiler & Welding Co., Inc.  www.hurstboiler.com